## Slide 1
Related resource
Singleton resource
Subordinate resource
Collection resource
Power Shelves
1
Service Root
Power Equipment
Mains
InputA
InputB
Branches
DCBusA
DCBusB
AC_B
AC_A
Outlets
ACOutletB
ACOutletA
Metrics
The feeds from the facility into the power shelf
The outputs to the bus bars in the rack
The dedicated outlets with receptacles
FRU info, status, and health for the power shelf

## Slide 2
Related resource
Singleton resource
Subordinate resource
Collection resource
Chassis
PowerShelf1
Service Root
Sensors
InputAVoltage
Power Subsystem
Thermal Subsystem
Environment
Metrics
Raw sensor readings for anything the power shelf is monitoring (voltages, current, power, temperature, etc)
InputBVoltage
<Other sensors>
Power Supplies
1
2
8
Metrics
FRU info, status, health, and readings for each of the power supplies
Fans
1
2
10
FRU info, status, health, and readings for each of the fans
FRU info, status, and health for the power shelf
Thermal
Metrics
Summary of important temperature readings